## Slide 1: 3D visualization of the electromagnetic field intensity distribution for UHF-RFID-identification
Garching bei Muenchen, April 2016
  IDP Presentation
  Morteza Mostajab

## Slide 2: Agenda
1
Introduction
2
Problem Definition
3
Setting up the virtual world
4
Data Collection
5
Data Visualization
6
Results
Einheitliche Darstellung

## Slide 3: Introduction
UHF-RFID-System demands reliable detection of transponders
A knowledge of the field strength distribution in an area of interest
  Speeds up optimizing the installation
The general goal of the whole project:
  Create a method and hardware to measure the field strength distribution.
  Using a mobile device

## Slide 4: Problem Definition
Building a model of examined installation in 3d virtual world.
  Should be fast and intractable (Using tracking system).
Assist the user during measurement by specific visualization.
  Make the measurement process faster.
  Collect enough data for an accurate visualization.
Visualize collected data in different ways.
  Investigate appropriate visualization methods.
  To detect weak/strong parts of the environment.

## Slide 5: Tracking System
ART-Tracker
IR Flashes From Camera
IR Flashes From Camera

## Slide 6: Tracking System
ART-Tracker
Reflected Light
Reflected Light

## Slide 7: Tracking System
ART-Tracker
2D image data from camera
2D image data from camera

## Slide 8: Tracking System
ART-Tracker
Marker Position
Intersection of optical rays

## Slide 9: Markers
Coordinate System Origin Marker
Antenna Pose Marker
Dipole Tracking Marker

## Slide 10: Setting up the virtual world
Requirements
  Environment coordinate’s origin
  Gate dimensions
  UHF Antenna’s position and orientation
Defining these specifications:
  Manually using mouse or keyboard.
    Requires measurements
    Hard to measure orientation and position accurately
  Use a tracking system to detect them by processing the images.

## Slide 11: Setting up the virtual world
Defining environment coordinate system’s origin
Defining Antenna’s position and orientation
  Defines the gate’s dimensions implicitly

## Slide 12: Gate Dimension Determination
w
w
w
h/2
h
h
h/2

## Slide 13: Data Collection
Area of interest is an axis-aligned bounding box which the magnetic field values in it is of interest.
Defining the area of interest:
  Using dipole’s head to determine its min and max points.
  Manually enter the area of interest resolution.

## Slide 14: User Assistant During Data Collection
Progress bar per grid’s element

## Slide 15: User Assistant During Data Collection

## Slide 16: Data Visualization
Visualizing all collected data
Visualizing magnetic field magnitude
Visualizing grid elements
Visualizing the magnetic field volume

## Slide 17: Torus/Sphere Glyph
Rendering high number of torus/spheres on GPU
  Generating geometries on the GPU using geometry shader
  Using higher order primitives method

## Slide 18: Torus/Sphere Glyph using Geometry Shader
Cons:
  Not smooth -> Limitation in number of generated primitives and vertices.
Center + Radius
Geometry Shader
Center + Inner Radius + Outer Radius + Transformation
Geometry Shader

## Slide 19: Torus/Sphere Glyph with Higher-Order Primitives (HOP)
Ray-casting sphere/torus:
  Intersecting ray-sphere equation
  Intersecting ray-torus equation:
    Quartic Function
    Requires double precision computation to reduce aliasing
Pros:
  Pixel-Accurate Primitives

## Slide 20: Transparency
Focus on part of dataset using transparency
  Using two scrollbars to define transparency for weak/strong values
0.09

## Slide 21: Direct Volume Rendering (DVR)
2D Projection of a 3D scalar field
  Ray casting the volumetric data

## Slide 22: Future Works
Add Order Independent Transparency (OIT)
Wrong rendering order
Right rendering order

## Slide 23: Future Works
ClearView Technique to focus on a specific part of dataset

## Slide 24: Vielen Dank für Ihre Aufmerksamkeit!
Prof. Dr.-Ing. Dipl.-Wi.-Ing. Willibald A. Günthner
Technische Universität München fml - Lehrstuhl für Fördertechnik Materialfluss Logistik
Boltzmannstr. 15
85748 Garching
Tel +49.89.289.15921 Fax +49.89.289.15922 E-Mail: kontakt@fml.mw.tum.de